## How to
MAKING THE GRAPH IN EXCEL · Mac
You have your readings. This turns them into a graph with a line of best fit and R².
WHAT IS IN THIS FILE
Your data — the tab you fill in. Both graphs are already built.
Worked example — filled in already, but with the old concentrations. It shows what a saturated, failed run looks like. Your standards are a hundred times weaker.
Why the graph flattens — read this if your points bend over or sit near 2.
Alongside this file: Starch calibration curve in R.html (open it in a browser) and starch_curve.R.
1 TYPE YOUR READINGS IN
1 | Open the Your data tab.
2 | Type only in the yellow cells. The grey ones fill themselves in.
3 | Columns F G H — your three absorbance readings per standard. Numbers only.
4 | Leave columns B and C alone. Those are the volumes you used.
Both graphs redraw the moment you type.
2 CHOOSE WHICH POINTS THE LINE USES
1 | Column K — put Y on every point the line should use, N on the rest.
2 | Lower graph: grey circles are left out, teal circles are in the line.
3 | Want all six in the line? Leave every row on Y.
! | Never fit fewer than three points. Two points always give R² = 1, which means nothing.
3 WHERE THE NUMBERS COME OUT
Rows 15 to 21 — gradient, intercept, R², the equation, the range the line covers.
The lower chart's title carries the equation and R², taken live from those cells.
The cells use =SLOPE() =INTERCEPT() =RSQ() — click one to see it.
The panel beside them names the point furthest from the line, and what R² would be without the blank.
! | If dropping the blank does not improve R², the blank is not the problem. Look at the top of your curve.
4 UNKNOWNS
1 | Row 27 downwards — type the dilution factor and the three readings.
2 | Column G gives you the concentration.
3 | Column H says whether to trust it. Red means the number is unusable.
BUILDING A CHART YOURSELF
The charts here are already made. Do this once, so you can do it on a blank sheet.
THE SCATTER CHART
1 | Select the x column, hold Command, select the y column. x first, y second.
2 | Insert tab → Scatter (X Y) → the first option: markers, no lines.
3 | Chart Design tab → Add Chart Element → Axis Titles → Horizontal, then Vertical.
! | Do not pick Scatter with Smooth Lines. That joins the dots. It is not a line of best fit.
THE TRENDLINE, THE EQUATION AND R²
1 | Control-click any data point → Add Trendline…
2 | In the Format Trendline panel, choose Linear.
3 | Tick Display Equation on chart and Display R-squared value on chart.
4 | The label lands on top of your line. Click it once and drag it clear. Everyone has to.
Ribbon route: Chart Design → Add Chart Element → Trendline → More Trendline Options
ERROR BARS FROM YOUR REPEATS
1 | Chart Design → Add Chart Element → Error Bars → More Error Bars Options
2 | Choose Custom, then click Specify Value.
3 | Put your uncertainty column into both the positive and the negative box.
No More Error Bars Options in the menu? Control-click an error bar → Format Error Bars.
IF A MENU IS NOT WHERE THIS SAYS IT IS
Excel renames menus between versions, and most tutorials online are the Windows one.
Control-click the thing you want to change and look for 'Format …' — that route has never moved.
THREE FORMULAS, FOR A BLANK SHEET
=SLOPE(y range, x range) the gradient
=INTERCEPT(y range, x range) where the line crosses at x = 0
=RSQ(y range, x range) R²
! | y comes first in all three. Reversing them is the commonest mistake in the room.
WHEN IT GOES WRONG
Empty chart — nothing typed yet, or text like 0.45 abs instead of 0.45.
#DIV/0! in rows 15 to 21 — fewer than two rows are marked Y.
R² exactly 1.000 — only two points are in the fit.
A point sitting at zero — a stray space or letter in a cell. Delete it and retype.
#N/A in columns N to R — normal before you type. Do not delete it.
THE SAME GRAPH IN R — one click, once R is on the machine
1 | Keep starch_curve.R in the same folder as this workbook, and save this workbook.
2 | Double-click starch_curve.R. It opens in RStudio.
3 | Press Source, top right of the editor. That is the whole thing.
It reads your numbers out of this file, fits the line to your Y rows, draws the graph and does your unknowns.
It reads only the cells you typed and recalculates the rest, so agreeing with Excel means something.
! | Never installed R? Open Starch calibration curve in R.html first — it has the two downloads you need, and it explains why R is worth the trouble.
That page explains every line, and every block of code copies with one click.

## Your data
YOUR RESULTS - type your own numbers into the yellow cells
The volumes are the recipe from the sheet - leave them. Type your absorbance readings in columns F, G and H. Everything else fills itself in. | [10 empty] | Chart title - built from the fit above. Leave it alone.
Line of best fit - fill in the table first
Stock solution / % | 0.01 | Wavelength / nm |  | 610 | Iodine / mol dm-3 |  | 0.01
Iodine per tube / cm3 | 0.1 | [9 empty] | Workings - the charts and the statistics read these. Leave them alone.
Tube | 0.01% working solution cm3 | Distilled water cm3 | Total volume cm3 | Concentration % | Absorbance trial 1 | Absorbance trial 2 | Absorbance trial 3 | Mean absorbance | Uncertainty +/- half range | On the straight part? (Y / N) | y all points | x in line | y in line | x for stats | y for stats | distance from line | size of that
Blank | 0 | 9.9 | 10 | 0 | [5 empty] | Y | #N/A | #N/A | #N/A
Standard 1 | 1 | 8.9 | 10 | 0.001 | [5 empty] | Y | #N/A | #N/A | #N/A
Standard 2 | 2 | 7.9 | 10 | 0.002 | [5 empty] | Y | #N/A | #N/A | #N/A
Standard 3 | 3 | 6.9 | 10 | 0.003 | [5 empty] | Y | #N/A | #N/A | #N/A
Standard 4 | 4 | 5.9 | 10 | 0.004 | [5 empty] | Y | #N/A | #N/A | #N/A
Standard 5 | 6 | 3.9 | 10 | 0.006 | [5 empty] | Y | #N/A | #N/A | #N/A
THE LINE OF BEST FIT - fitted to the 'Y' rows only |  |  |  |  | IS THIS DATA ANY GOOD?
Points used in the line |  |  | 0 |  | Point furthest from the line
Gradient (slope) |  |  |  |  | Readings outside 0.1 - 1.0 absorbance |  |  | 0
Intercept (absorbance at 0%)
R² (coefficient of determination)
Equation of the line |  |  | (fill in the table first)
Highest absorbance still on the line |  |  | 0
Highest concentration still on the line / % |  |  | 0
Intercept check
A HIGH R² ACROSS A FLAT PART OF THE CURVE IS WORSE THAN A LOW ONE - it hides the fact that the method cannot tell those concentrations apart.
YOUR UNKNOWNS - read them off the line
Sample | Dilution factor | Absorbance trial 1 | Absorbance trial 2 | Absorbance trial 3 | Mean absorbance | Concentration % | Can you trust it?
Unknown A | 1
Unknown B | 1
Either one, after diluting - write the factor | 10
Quote your answer to the precision your readings deserve. Multiplying by a dilution factor of 10 multiplies the uncertainty by 10 too.

## Worked example
WORKED EXAMPLE - WITH 1% STARCH SOLUTION
These standards run 0.05% to 1.00% - the concentrations classes used BEFORE, not the ones you are using. They are kept because they show what a failed, saturated run looks like: the readings pin near 2 and the graph goes flat. Your own standards run 0.001% to 0.006% and should give a straight line. Use this tab to learn how the sheet works and what a bad result looks like. Put your results on 'Your data'. Do NOT hand this tab in. | [10 empty] | Chart title - built from the fit above. Leave it alone.
Line of best fit: absorbance = 3.878 x concentration + 0.005, R² = 0.9992
Stock solution / % | 1 | Wavelength / nm |  | 610 | Iodine / mol dm-3 |  | 0.01
Iodine per tube / cm3 | 0 | [9 empty] | Workings - the charts and the statistics read these. Leave them alone.
Tube | 1% stock cm3 | Distilled water cm3 | Total volume cm3 | Concentration % | Absorbance trial 1 | Absorbance trial 2 | Absorbance trial 3 | Mean absorbance | Uncertainty +/- half range | On the straight part? (Y / N) | y all points | x in line | y in line | x for stats | y for stats | distance from line | size of that
Blank | 0 | 10 | 10 | 0 | 0 | 0.002 | 0.001 | 0.001 | 0.001 | Y | 0.001 | 0 | 0.001 | 0 | 0.001 | -0.0044 | 0.0044
Standard 1 | 0.5 | 9.5 | 10 | 0.05 | 0.19 | 0.201 | 0.197 | 0.196 | 0.0055 | Y | 0.196 | 0.05 | 0.196 | 0.05 | 0.196 | -0.0033143 | 0.0033143
Standard 2 | 1 | 9 | 10 | 0.1 | 0.399 | 0.414 | 0.408 | 0.407 | 0.0075 | Y | 0.407 | 0.1 | 0.407 | 0.1 | 0.407 | 0.013771 | 0.013771
Standard 3 | 2 | 8 | 10 | 0.2 | 0.766 | 0.785 | 0.774 | 0.775 | 0.0095 | Y | 0.775 | 0.2 | 0.775 | 0.2 | 0.775 | -0.0060571 | 0.0060571
Standard 4 | 5 | 5 | 10 | 0.5 | 1.388 | 1.421 | 1.397 | 1.402 | 0.0165 | N | 1.402 | #N/A | #N/A
Standard 5 | 10 | 0 | 10 | 1 | 1.611 | 1.658 | 1.645 | 1.638 | 0.0235 | N | 1.638 | #N/A | #N/A
THE LINE OF BEST FIT - fitted to the 'Y' rows only |  |  |  |  | IS THIS DATA ANY GOOD?
Points used in the line |  |  | 4 |  | Point furthest from the line |  |  | Standard 2 - off by 0.014
Gradient (slope) |  |  | 3.8783 |  | Readings outside 0.1 - 1.0 absorbance |  |  | 2
Intercept (absorbance at 0%) |  |  | 0.0054
R² (coefficient of determination) |  |  | 0.99922
Equation of the line |  |  | absorbance = 3.878 x concentration in % + 0.005
Highest absorbance still on the line |  |  | 0.775
Highest concentration still on the line / % |  |  | 0.2
Intercept check |  |  | Intercept is close to zero, as it should be - no sign of a zeroing problem.
A HIGH R² ACROSS A FLAT PART OF THE CURVE IS WORSE THAN A LOW ONE - it hides the fact that the method cannot tell those concentrations apart.
YOUR UNKNOWNS - read them off the line
Sample | Dilution factor | Absorbance trial 1 | Absorbance trial 2 | Absorbance trial 3 | Mean absorbance | Concentration % | Can you trust it?
Unknown A (as collected) | 1 | 1.548 | 1.562 | 1.551 | 1.5537 | 0.39921 | NO - above the straight part. Dilute it and read again.
Unknown A (1 cm3 into 9 cm3 water) | 10 | 0.318 | 0.325 | 0.321 | 0.32133 | 0.81462 | Yes - inside the straight part.
Unknown B (as collected) | 1 | 0.509 | 0.518 | 0.512 | 0.513 | 0.13088 | Yes - inside the straight part.
Quote your answer to the precision your readings deserve. Multiplying by a dilution factor of 10 multiplies the uncertainty by 10 too.

## Why the graph flattens
WHY THE GRAPH FLATTENS
In one sentence: past a certain point the solution is so dark that no light gets through, and the reading stops meaning anything.
WHAT A COLORIMETER ACTUALLY MEASURES
It shines light through your tube and measures how much comes out the far side.
Absorbance 1.0 means a tenth of the light got through. Absorbance 2.0 means a hundredth.
Absorbance 3.0 means a thousandth — by then it is measuring almost nothing at all.
! | Vernier say plainly that a reading of 1.0 or above means the solution is too concentrated, and that the useful range is 0.1 to 1.0. Outside that a number is still displayed. It just is not data.
WHY THAT BITES SO EARLY WITH STARCH
The blue starch-iodine complex is one of the most strongly coloured things in the lab.
Published work puts the usable range at 1 to 100 micrograms per cm³ — that is 0.0001% to 0.01% starch.
At 0.01% starch the absorbance is already about 1.0. That is the top of what any school instrument can read.
A 1% solution is a hundred times more concentrated than that. With iodine in it, it is effectively black.
! | Think of a sound meter that stops at 100 dB. Zero it on silence, then measure a shout, a drill and a jet engine: 0, 100, 100, 100. It looks like loudness plateaus. It does not. The meter ran out.